## Sheet2 (hidden)
1.9603 | 0.5102 | annual production constant
Tilt Angle from Horizontal
Orientation | Degrees | 0 | 18 | 30 | 45 | 60 | 90
N (0) | 0 | 0.83 | 0.65 | 0.53 | 0.4 | 0.3 | 0.22
NNE (22.5) | 22.5 | 0.83 | 0.67 | 0.56 | 0.44 | 0.35 | 0.26
NE (45) | 45 | 0.83 | 0.72 | 0.68 | 0.47 | 0.38 | 0.29
ENE (67.5) | 67.5 | 0.83 | 0.77 | 0.72 | 0.66 | 0.59 | 0.45
E (90) | 90 | 0.83 | 0.83 | 0.81 | 0.77 | 0.71 | 0.55
ESE (112.5) | 112.5 | 0.83 | 0.89 | 0.89 | 0.87 | 0.82 | 0.63
SE (135) | 135 | 0.83 | 0.93 | 0.96 | 0.95 | 0.89 | 0.68
SSE (157.5) | 157.5 | 0.83 | 0.95 | 0.99 | 0.99 | 0.94 | 0.7
S (180) | 180 | 0.83 | 0.96 | 1 | 1 | 0.95 | 0.7
SSW (202.5) | 202.5 | 0.83 | 0.95 | 0.99 | 0.99 | 0.94 | 0.7
SW (225) | 225 | 0.83 | 0.91 | 0.93 | 0.91 | 0.86 | 0.65
WSW (247.5) | 247.5 | 0.83 | 0.86 | 0.86 | 0.83 | 0.77 | 0.59
W (270) | 270 | 0.83 | 0.81 | 0.77 | 0.72 | 0.66 | 0.51
WNW (292.5) | 292.5 | 0.83 | 0.75 | 0.68 | 0.6 | 0.53 | 0.41
NW (315) | 315 | 0.83 | 0.69 | 0.59 | 0.49 | 0.41 | 0.31
NNW (337.5) | 337.5 | 0.83 | 0.66 | 0.54 | 0.41 | 0.32 | 0.25

## Sizing Calculator
Colorado Springs Utilities
Maximum Net Metering Size for Residential Accounts |  |  | Highlighted cells are for input |  |  |  | Revised 4/2023
1. Enter monthly customer consumption, in kWh, for most recent year, as data is available
Missing months will be estimated from a typical residential annual consumption profile
| Actual kWh | Estimated kWh | Typical Residential Load Profile
Jan |  |  | 9.218%
Feb |  |  | 8.083%
Mar |  |  | 8.088%
Apr |  |  | 7.502%
May |  |  | 7.29%
Jun |  |  | 8.778%
Jul |  |  | 9.432%
Aug |  |  | 9.302%
Sep |  |  | 7.979%
Oct |  |  | 7.478%
Nov |  |  | 7.717%
Dec |  |  | 9.132%
Total | #N/A |  | 100%
2. If Fewer than 4 months of data are available (only for new construction or recent move-ins), enter the following data:
Year Built |  | Year built from El Paso County assessor records |  |  | https://property.spatialest.com/co/elpaso/#/
Livable Area |  | Square feet, Livable area from El Paso County assessor records, including finished basement area
Adjusted Year Built | 2035
Adjusted Livable Area | 500
Pre1980 Regression | 6024.827
Post1980 Regression | 3383.3242
Estimated Annual Consumption | #N/A
3. Recently Purchased Electric Vehicle Added Load Credit
Vehicle Purchase Date |  | Enter date of new EV registration in last 11 months, if applicable (proof of registration required)
Months of additional EV credit | 0 | Based on the months that the customer did not have the EV but will in the future.
Consumption Adjustment for EV | 0
4. Maximum System Size for Net Metering
120% Production limit for Net Metering | #N/A | kWh/year
Net Metering System Size limit | #N/A | kW AC | Engineering Estimate - assuming standard capacity factor losses
5. If more detailed information is available, enter the array details to calculate losses and more accurately estimate system size
System Components
PV module
PTC Rating |  | Enter the PTC rating of the PV module. Found here: |  |  | https://solarequipment.energy.ca.gov/Home/PVModuleList
Nameplate Wattage |  | Or if PTC is not known, Enter the module wattage here. This will result in less accurate results.
Inverter Type
Inverter Efficiency | 99% | Typically between 96%-99%. Found here: |  |  | https://solarequipment.energy.ca.gov/Home/InverterSolarList
Array Details | Array 1 | Array 2 | Array 3 | Array 4 | Array 5 |  |  |  | Losses
Number of Panels | [5 empty] | Enter the number of panels in the array
Azimuth (deg) | S (180) | S (180) | S (180) | S (180) | S (180) | Enter the Azimuth orientation of the array
Tilt (deg) | 18 | 18 | 0 | 0 | 0 | Enter the tilt from horizontal
Shading (%) | 85% | 85% | 85% | 85% | 85% | Enter the shading factor, found on shading report |  |  | 15% | (user defined based on shading analysis results)
Or if using Google sunroof (total hours of sunlight/1960) = XX%
Orientation De-rate Factor | 96% | 96% | 83% | 83% | 83% |  |  |  |  | (variable, based on orientation)
Inverter Efficiency | 99% | 99% | 99% | 99% | 99% |  |  |  | 1% | (suggested value, based on inverter specs, user can override)
Module PTC Rating (wattage) | 0 | 0 | 0 | 0 | 0 |  |  |  | 8% | Fixed value - estimated loss from nameplate
Assumed Array losses | 20% | 20% | 33% | 33% | 33%
AC KWatts output | 0 | 0 | 0 | 0 | 0
Estimated Annual Production kwh/year | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0.5102
6. System Overview
| #N/A | #N/A
Estimated Annual production | 0 | kWh/year
Total Estimated AC Kwatts output | 0 | kW AC
8760
0.224
Formulas:
Actual kWh = IF([Actual kWh, row above]>0,12-MOD(MONTH(TODAY())-MONTH([Actual kWh, row above]),12),0)